## Raw_Data
level_cm | sample | adc | reported_mV | observation_note
0 | 1 | 34 | 167
0 | 2 | 38 | 168
0 | 3 | 21 | 168
0 | 4 | 27 | 166
0 | 5 | 29 | 162
0 | 6 | 27 | 160
0 | 7 | 25 | 165
0 | 8 | 37 | 166
0 | 9 | 28 | 163
0 | 10 | 26 | 163
0 | 11 | 23 | 160
0 | 12 | 23 | 163
0 | 13 | 19 | 156
0 | 14 | 18 | 156
0 | 15 | 16 | 156
0 | 16 | 16 | 152
0 | 17 | 8 | 148
0 | 18 | 10 | 155
0 | 19 | 15 | 155
0 | 20 | 16 | 150
2 | 1 | 1885 | 1708
2 | 2 | 1876 | 1707
2 | 3 | 1884 | 1707
2 | 4 | 1890 | 1698
2 | 5 | 1897 | 1702
2 | 6 | 1887 | 1703
2 | 7 | 1901 | 1702
2 | 8 | 1891 | 1708
2 | 9 | 1895 | 1698
2 | 10 | 1894 | 1699
2 | 11 | 1894 | 1702
2 | 12 | 1898 | 1703
2 | 13 | 1911 | 1710
2 | 14 | 1890 | 1704
2 | 15 | 1894 | 1697
2 | 16 | 1898 | 1706
2 | 17 | 1895 | 1699
2 | 18 | 1892 | 1703
2 | 19 | 1902 | 1711
2 | 20 | 1893 | 1703
5 | 1 | 1996 | 1793
5 | 2 | 1986 | 1792
5 | 3 | 2001 | 1794
5 | 4 | 1995 | 1794
5 | 5 | 1989 | 1786
5 | 6 | 1988 | 1793
5 | 7 | 1986 | 1786
5 | 8 | 1991 | 1793
5 | 9 | 1990 | 1787
5 | 10 | 1985 | 1792
5 | 11 | 1998 | 1791
5 | 12 | 2000 | 1782
5 | 13 | 1987 | 1793
5 | 14 | 1993 | 1784
5 | 15 | 1999 | 1781
5 | 16 | 1990 | 1780
5 | 17 | 1988 | 1784
5 | 18 | 1985 | 1783
5 | 19 | 1986 | 1779
5 | 20 | 1994 | 1779
8 | 1 | 2021 | 1808
8 | 2 | 2012 | 1805
8 | 3 | 2016 | 1808
8 | 4 | 2005 | 1807
8 | 5 | 2011 | 1808
8 | 6 | 2013 | 1807
8 | 7 | 2014 | 1803
8 | 8 | 2013 | 1800
8 | 9 | 2016 | 1803
8 | 10 | 2011 | 1797
8 | 11 | 2007 | 1805
8 | 12 | 2009 | 1803
8 | 13 | 2021 | 1806
8 | 14 | 2011 | 1803
8 | 15 | 2012 | 1808
8 | 16 | 2014 | 1799
8 | 17 | 2011 | 1797
8 | 18 | 2009 | 1800
8 | 19 | 2010 | 1798
8 | 20 | 2001 | 1800
10 | 1 | 1865 | 1675
10 | 2 | 1872 | 1687
10 | 3 | 1872 | 1675
10 | 4 | 1858 | 1681
10 | 5 | 1867 | 1675
10 | 6 | 1872 | 1687
10 | 7 | 1857 | 1681
10 | 8 | 1865 | 1681
10 | 9 | 1857 | 1684
10 | 10 | 1861 | 1675
10 | 11 | 1855 | 1670
10 | 12 | 1866 | 1688
10 | 13 | 1853 | 1680
10 | 14 | 1856 | 1679
10 | 15 | 1857 | 1679
10 | 16 | 1862 | 1674
10 | 17 | 1872 | 1683
10 | 18 | 2124 | 1884 | Water level was not constant during this final measurement; retained in original data.
10 | 19 | 2137 | 1910 | Water level was not constant during this final measurement; retained in original data.
10 | 20 | 2128 | 1901 | Water level was not constant during this final measurement; retained in original data.

## Summary
Level_cm | N | Mean_ADC | Sample_SD_ADC | Mean_reported_mV | Min_ADC | Max_ADC | Notes
0 | 20 | 22.8 | 8.2628 | 159.95 | 8 | 38
2 | 20 | 1893.35 | 7.3862 | 1703.5 | 1876 | 1911
5 | 20 | 1991.35 | 5.2942 | 1787.3 | 1985 | 2001
8 | 20 | 2011.85 | 4.727 | 1803.25 | 2001 | 2021
10 | 20 | 1902.8 | 97.9928 | 1712.45 | 1853 | 2137 | Samples 18–20 (2124, 2137, 2128 ADC) were recorded while water level was unstable; retained in all-data statistics.

## Calculation_Notes
Metric | Excel formula examples | Note
Mean ADC |  | Use Summary!A2 as level criterion, then fill down.
Sample standard deviation ADC |  | Excel 365 supports FILTER; otherwise calculate SD from each level's 20 ADC values.
Mean reported voltage (mV) |  | Reported voltage is ADC-derived, not independently verified with a multimeter.
10 cm observation | Samples 18–20: ADC 2124, 2137, 2128 | User observed water level was not constant during these final three measurements. Values retained in raw data and summary; later repeat runs must be stored separately.